FORM GW31

OUTLINE RULES FOR THE MAINTENANCE AND OPERATION OF A GROUP WATER SCHEME

- It is suggested that the group should adopt rules for the maintenance and operation of their scheme as soon as possible after work has commenced on the scheme.

- The attached outline rules have been prepared by the Department of Environment Heritage and Local Government to assist groups in formulating rules for the maintenance and operation of a private co-operative water supply scheme. The adoption of rules, is, however, primarily the responsibility of each group  and the Department cannot accept responsiblility for any problems arising from the application or interpretation of these rules.

- Each group should examine the attached rules and make any changes necessary to meet the particular requirements of the group.

- It is suggested that the rules be adopted at a special meeting attended by all or a majority of group participants. Following this meeting, the Trustees and 3 other members of the group should sign the statement on Page 3 of the attached rules.

- The signed copy of the rules should be preserved carefully by the Trustees. It is suggested that the document be lodged in a bank for safe keeping.

- A copy of the rules should be given to each member of the group, for future reference.

RULES FOR THE MAINTENACE AND OPERATION OF GROUP WATER

SCHEME (WITH PARTICULAR REFERENCE TO THE PREVENTION OF

WASTAGE OR THE MISUSE OF WATER)

1. The following shall be deemed to be members of the group:-

(1) the original participants and,

(2) new participants, on receipt of the written approval from Trustees referred to at Rule 2 below

2. The written approval of the Trustees of the group must be obtained before any connection has been made and if it is desired to extend or alter in any way the existing supply to the premises, the written approval of the Trustees must also be obtained beforehand.

Application for approval should be made to the Organiser of the scheme, and at least seven days notice should be given before it is desired to carry out the proposed work. Such work should not, however, be put in hands until written approval has been given by the Trustees.

3. All pipes, fittings, materials and workmanship must conform to the requirement of

(a) the Department of the Environment

(b) the Sanitary Authority, and

(c) the Trustees

4. In all cases of service connection including agricultural, the group’s nominated agent will tap the watermain and fit the ferrule and stopcock.

5. Each house must have a separate connection to the main.

6. Service or distribution pipes shall not be laid through or adjacent to any drain, ashpit, cesspool or other possible source of contamination.

7. Water shall not be supplied directly from the service pipe to any urinal or water closet. Each urinal or water closet must be supplied from a storage tank in the house.

8. The use of water for agricultural purposes shall be subject to the prior written approval of the trustees. Connection to main shall be made in accordance with RULES 2, 3, and 5. Each farmyard sandpipe shall be provided with a tap.

A cattle trough on concrete base with adequately protected ball valve shall be provided for each field connection. Each additional connection or extension must be approved by the trustees, in writing, prior to installation.

9. All mains extensions to the original scheme shall conform to local authority and Department of the Environment requirements. Agricultural or field connections shall not be used for new houses or other development unless approved by the trustees in writing. Any such connection or extension shall be subject to water being available after the group’s requirements are fully satisfied.

10. The Trustees may attach special conditions to the granting of permission to use water for milk cooling or for industrial purposes. Only milk cooling equipment which does not waste water shall be permitted.

11. Leaks and/or defects shall be reported to the Trustees and shall be repaired as soon as possible.

Trustees shall have powers to discontinue supply to that section of the scheme where repairs are necessary, until defects are remedied.

12. The Trustees or any agent appointed by them shall have power to inspect at all reasonable times and without interference any house, outoffice or farm which is supplied with water from the group’s system in order to ascertain whether there is any waste or misuse of water or any breach of any or all of the foregoing rules.

13. The Trustees or any agent appointed by them or any authorised official of the sanitary authority or the Department of the Environment shall have a right to access within 15ft of either side of all pipe lines and site works situated on property. They shall have power within this area to inspect, maintain, repair pipelines and fittings and to alter, reconstruct, and rebuild site works or generally to maintain or to improve the system.

14. The group shall hold a General Meeting, as necessary to fix the annual levy payable by all members to finance the operational and maintenance costs of the scheme.

A public announcement shall be made giving members at least one week’s notice of this General Meeting and all members of the group including new members, shall be entitled to attend.

15. If there is a breach of any or all of the foregoing rules, the Trustees reserve the right to discontinue a supply to the premises. Neither the group nor the Trustees shall be liable in any way as a result of such discontinuance.

16. Any proposal to revise the foregoing rules shall be adopted by a majority on the total group membership

Kildare County Council

St Marys, Naas, Co Kildare.

Tel:  045 873800

Fax: 045 873898

- Agreement Form: GW 31

- The foregoing rules of the maintenance and operation of

______________________________________ group water supply scheme, with particular reference to the prevention of wastage and misuse of water, were adopted at a special meeting of the group held at

_______________________________ on the ______________ day of , 200__

- Signed by ;

- ________________________________________________ Trustee

- ________________________________________________ Trustee

- ________________________________________________ Trustee

Witnessed by:

- _________________________________________________ Group Member

- _________________________________________________ Group Member

- _________________________________________________ Group Member

Date: ___________________ ,200__