Upgrading Grant for existing Group Water Schemes - Step-by-Step Guidelines

An Upgrading Grant is available to existing group schemes that are in need of improvement. Grants are calculated as a maximum of 85% of approved total costs (with no allowance for land connections), or €6,475.66 per eligible house subject to the maximum.

The group must meet at least 15% of total cost.

The group must take the following steps in order to obtain grant approval before undertaking any work. Further detailed advice may be obtained by contacting the Council’s water services section.

Step 1: To make application

Submit completed and signed application form (click on link below)  and survey sheets (Form GW1, click on link) to the County Council.

Step 2: To survey the scheme and report

A technical examination or survey will be required to identify all deficiencies or problems of the scheme with proposals to remedy these. Wastage or leakage of water will need to be examined and it may be necessary to install a suitable water meter to assist with this. This information must then be submitted in report form to the Council for their examination and approval.

It is necessary to engage an engineer or another technically competent person to survey and put together this report.

Water Quality: As it is a condition of the grant that the water must meet the current standards for drinking water, the quality of the water must be addressed in this report. Any necessary treatment, which may be required in order to bring the supply up to standard, must be included in the upgrading proposals. The current standard is in compliance with the E.U. Drinking Water Directive. In addition it will be a condition of approval that the supply shall be chlorinated.

Step 3: To obtain tenders

On receipt of Council approval with any conditions which may be attached, the group must obtain competitive tenders for pipelaying as well as for supply and installation of plant and any other work necessary and submit it to the Council for approval and provisional allocation of grants.

Watermains must be in accordance with Kildare County Council’s "Standard Specification for Group Schemes (watermains)". In order to ensure compliance with the Standard Specification, it is preferable that tenders for pipelaying shall be obtained on the Councils "Combined Standard Specification and Tender Form" document, available from the Council.

Step 4: To carry out the work

On receipt of final approval and provisional allocation of grants the group may apply for a road opening licence. The Group must also ensure that the successful contractor has all relevant insurances in place prior to the commencement of any works.  When all these issues are addressed, work may then be commissioned. The Council will inspect work during progress to ensure compliance with the required standards. Interim grant payments may be claimed during the course of the work on submission to the Council of certified invoices from the Group Engineer. On satisfactory completion of all work to the required standard and presentation of receipts, final grants will be paid.